|  | ......................... pcs. .............................. € .............................. € GEZE floor spring TS 500 N EN3, for internal single and double -action doors, with closing force size 3 in accordance with EN 1154, load capacity up to 100 kg, closing speed is adjustable, with fixed back check, overall height 42 mm, Hold-open device: ( ) without hold-open device ( ) with hold-open device 85° ( ) with hold-open device 90° ( ) with hold-open device 105° ( ) with hold-open device 120° Cover plate: ( ) stainless steel ( ) dark bronze ( ) brass |
| --- | --- |